## Cover
AUGUSTA
POWER STATIONS
EPA Report
2016-02-01
This is the emissions monitoring report for Port Augusta Power Stations
for the month of February 2016
Northern Power Station
Unit 2 encounted gas analyser problems early in the month
Playford Power Station
Playford was offline for the entire month
Ambient Monitoring Station
Ambient Particulates

## Tsp-PM10
Port Augusta Total Suspended Particulate Report
FEBRUARY 2016
TOTAL SUSPENDED PARTICULATES AND PM10 FEBRUARY 2016
[6 empty] | Site | Monthly Maximum | 12 Monthly Geometric Mean | PM10 Arithetic Mean | Limit TSP 120ug/m3 | Limit PM10 50ug/m3
[6 empty] | LMO (Tsp) | 69 | 33 |  | 120
[6 empty] | STN (Tsp) | 104 | 38 |  | 120
| Units: ug/m3 @25C, 1 atm. |  |  |  |  | PAH (Tsp) | 79 | 26 |  | 120
[6 empty] | TEN (Tsp) | 96 | 42 |  | 120
|  | Moving 12 Months |  |  |  | PIG (Tsp) | 47 | 24 |  | 120
Site | Monthly Maximum | Mean |  | No. Samples |  | LMO (PM10) | 26 |  | 12 |  | 50
|  | Geometric | Arithmetic | >120 (ug/m3) | >50 (ug/m3) | STN (PM10) | 30 |  | 16 |  | 50
Lea Memorial Oval (TSP) | 69 | 35 |  | 1 |  | PAH (PM10) |  |  |  |  | 50
Stirling North (TSP) | 104 | 33 |  | 6 |  | TEN (PM10) | 42 |  | 19 |  | 50
Hospital (TSP) | 79 | 32 |  | 0 |  | PIG (PM10) | 20 |  | 11 |  | 50
Tennis Club (TSP) | 96 | 42 |  | 6
Pigeon Club (TSP) | 47 | 27 |  | 0
Lea Memorial Oval (PM10) | 26 |  | 12 |  | 3
Stirling North (PM10) | 30 |  | 16 |  | 10
Tennis Club (PM10) | 42 |  | 19 |  | 9
Pigeon Club (PM10) | 20 |  | 11 |  | 0
Moving number of exceedances and geometric mean TSP not reported if data recovery <75%
No monthly data reported if no monitoring at location or if monitoring does not comply with flow and
sampling period requirements of AS 3580.9.6 - 1990

## Tsp-PM10 Data
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY
|  |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150
2016 | FEB | 6 | 71.9805 | 65.9414 |  |  |  | Time fault |  |  | 68.4501 | 62.7071 |  |  | 88.4972 | 81.0723 |  |  | 42.8084 | 39.2167
|  | 12 | 73.3969 | 67.2389 |  |  | 109.4828 | 100.2972 |  |  | 86.4127 | 79.1627 |  |  | 78.3908 | 71.8138 |  |  | 50.9398 | 46.666
|  | 18 | 74.8346 | 68.556 |  |  | 113.2408 | 103.7399 |  |  | 72.9731 | 66.8507 |  |  | 105.2499 | 96.4195 |  |  | 46.6704 | 42.7547
|  | 24 | 56.8273 | 52.0595 |  |  | 77.553 | 71.0463 |  |  | 43.7789 | 40.1059 |  |  | 51.9455 | 47.5873 |  |  | 37.2034 | 34.0821
[5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY
|  |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150
2016 | FEB | 6 | 28.9033 | 26.4783 |  |  | 32.9142 | 30.1527 | [6 empty] | 32.4698 | 29.7456 |  |  | 21.8502 | 20.017
|  | 12 | 20.7455 | 19.005 |  |  | 26.3111 | 24.1036 | [6 empty] | 26.0986 | 23.9089 |  |  | 16.5077 | 15.1227
|  | 18 | 23.0003 | 21.0706 |  |  | 31.3338 | 28.7049 | [6 empty] | 45.5416 | 41.7206 |  |  | 19.5642 | 17.9227
|  | 24 | 17.6064 | 16.1292 |  |  | 30.3018 | 27.7595 | [6 empty] | 26.9688 | 24.7062 |  |  | 14.2614 | 13.0649
[5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0