## Cover
AUGUSTA
POWER STATIONS
EPA Report
2016-03-01
This is the emissions monitoring report for Port Augusta Power Stations
for the month of March 2016
Northern Power Station
Unit 2 encounted instrument faults one early and one late in the month
Unit 1 was offline due to mechanical problems for a short period
Playford Power Station
Playford was offline for the entire month
Ambient Monitoring Station
Ambient Particulates

## Tsp-PM10
Port Augusta Total Suspended Particulate Report
MARCH 2016
TOTAL SUSPENDED PARTICULATES AND PM10 MARCH 2016
[6 empty] | Site | Monthly Maximum | 12 Monthly Geometric Mean | PM10 Arithetic Mean | Limit TSP 120ug/m3 | Limit PM10 50ug/m3
[6 empty] | LMO (Tsp) | 74 | 31 |  | 120
[6 empty] | STN (Tsp) | 125 | 36 |  | 120
| Units: ug/m3 @25C, 1 atm. |  |  |  |  | PAH (Tsp) | 59 | 24 |  | 120
[6 empty] | TEN (Tsp) | 70 | 40 |  | 120
|  | Moving 12 Months |  |  |  | PIG (Tsp) | 55 | 23 |  | 120
Site | Monthly Maximum | Mean |  | No. Samples |  | LMO (PM10) | 22 |  | 11 |  | 50
|  | Geometric | Arithmetic | >120 (ug/m3) | >50 (ug/m3) | STN (PM10) | 47 |  | 15 |  | 50
Lea Memorial Oval (TSP) | 74 | 35 |  | 0 |  | PAH (PM10) |  |  |  |  | 50
Stirling North (TSP) | 125 | 33 |  | 5 |  | TEN (PM10) | 31 |  | 18 |  | 50
Hospital (TSP) | 59 | 32 |  | 0 |  | PIG (PM10) | 23 |  | 10 |  | 50
Tennis Club (TSP) | 70 | 42 |  | 6
Pigeon Club (TSP) | 55 | 27 |  | 0
Lea Memorial Oval (PM10) | 22 |  | 11 |  | 1
Stirling North (PM10) | 47 |  | 15 |  | 6
Tennis Club (PM10) | 31 |  | 18 |  | 7
Pigeon Club (PM10) | 23 |  | 10 |  | 0
Moving number of exceedances and geometric mean TSP not reported if data recovery <75%
No monthly data reported if no monitoring at location or if monitoring does not comply with flow and
sampling period requirements of AS 3580.9.6 - 1990
Moderate Sth to SE winds on the 7th of March resulted in high dust levels at Stirling North
Red dust was found on the filters

## Tsp-PM10 Data
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY
|  |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150
2016 | MAR | 1 | 80.8089 | 74.029 |  |  | 106.719 | 97.7652 |  |  | 64.3672 | 58.9668 |  |  | 76.3289 | 69.9249 |  |  | 59.9296 | 54.9015
|  | 7 | 48.5606 | 44.4864 |  |  | 136.2188 | 124.7901 |  |  | 63.3051 | 57.9938 |  |  | 76.7669 | 70.3261 |  |  | 39.8778 | 36.532
|  | 13 | 27.9699 | 25.6232 |  |  | 35.706 | 32.7103 |  |  | 25.6522 | 23.5 |  |  | 28.2535 | 25.883 |  |  | 19.7612 | 18.1032
|  | 19 | 18.1914 | 16.6652 |  |  | 36.5552 | 33.4883 |  |  | 20.4734 | 18.7557 |  |  | 23.8019 | 21.8049 |  |  | 16.7085 | 15.3066
|  | 25 | 34.3845 | 31.4997 | [6 empty] | 41.9316 | 38.4136 |  |  | 38.45 | 35.2241 |  |  | 17.7244 | 16.2373
|  | 31 | 28.387 | 26.0054 | 0 | 0 | 25.0887 | 22.9838 | 1 | 0 | 21.7084 | 19.8871 | 0 | 0 | 33.8648 | 31.0236 | 0 | 0 | 22.5185 | 20.6292 | 0 | 0
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY
|  |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150
2016 | MAR | 1 | 23.7146 | 21.7249 |  |  | 30.7317 | 28.1533 | [6 empty] | 29.158 | 26.7116 |  |  | 24.6837 | 22.6127
|  | 7 | 14.5822 | 13.3588 |  |  | 51.0529 | 46.7695 | [6 empty] | 34.2245 | 31.3531 |  |  | 14.6406 | 13.4123
|  | 13 | 10.6328 | 9.7407 |  |  | 11.3332 | 10.3824 | [6 empty] | 10.9101 | 9.9947 |  |  | 8.2668 | 7.5732
|  | 19 | 8.7091 | 7.9784 |  |  | 8.8506 | 8.108 | [6 empty] | 10.9565 | 10.0373 |  |  | 8.2863 | 7.5911
|  | 25 |  |  |  |  | 13.5194 | 12.3851 | [6 empty] | 13.7047 | 12.5549 |  |  | 7.4125 | 6.7906
|  | 31 | 11.6484 | 10.6711 | 0 | 0 | 15.0615 | 13.7978 | 0 | 0 |  |  | 0 | 0 | 16.166 | 14.8096 | 0 | 0 | 10.0908 | 9.2442 | 0 | 0