## Cover
AUGUSTA
POWER STATIONS
EPA Report
2016-09-01
This is the emissions monitoring report for Port Augusta Power Stations
for the month of September 2016
Northern Power Station
Northern was offline for the entire month
Playford Power Station
Playford was offline for the entire month
Ambient Monitoring Station
Station offline
Ambient Particulates

## Tsp-PM10
Port Augusta Total Suspended Particulate Report
SEPTEMBER 2016
TOTAL SUSPENDED PARTICULATES AND PM10 SEPTEMBER 2016
[6 empty] | Site | Monthly Maximum | 12 Monthly Geometric Mean | PM10 Arithetic Mean | Limit TSP 120ug/m3 | Limit PM10 50ug/m3
[6 empty] | LMO (Tsp) | 30 | 31 |  | 120
[6 empty] | STN (Tsp) | 52 | 36 |  | 120
| Units: ug/m3 @25C, 1 atm. |  |  |  |  | PAH (Tsp) | 30 | 24 |  | 120
[6 empty] | TEN (Tsp) | 49 | 38 |  | 120
|  | Moving 12 Months |  |  |  | PIG (Tsp) | 22 | 23 |  | 120
Site | Monthly Maximum | Mean |  | No. Samples |  | LMO (PM10) | 11 |  | 12 |  | 50
|  | Geometric | Arithmetic | >120 (ug/m3) | >50 (ug/m3) | STN (PM10) | 9 |  | 14 |  | 50
Lea Memorial Oval (TSP) | 30 | 31 |  | 0 |  | PAH (PM10) |  |  |  |  | 50
Stirling North (TSP) | 52 | 36 |  | 5 |  | TEN (PM10) | 14 |  | 17 |  | 50
Hospital (TSP) | 30 | 24 |  | 0 |  | PIG (PM10) | 12 |  | 10 |  | 50
Tennis Club (TSP) | 49 | 38 |  | 6
Pigeon Club (TSP) | 22 | 23 |  | 0
Lea Memorial Oval (PM10) | 11 |  | 12 |  | 1
Stirling North (PM10) | 9 |  | 14 |  | 6
Tennis Club (PM10) | 14 |  | 17 |  | 8
Pigeon Club (PM10) | 12 |  | 10 |  | 0
Moving number of exceedances and geometric mean TSP not reported if data recovery <75%
No monthly data reported if no monitoring at location or if monitoring does not comply with flow and
sampling period requirements of AS 3580.9.6 - 1990

## Tsp-PM10 Data
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY |  | TSP |  | MONTHLY
|  |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C |  | (ug/m3) |  | TSP @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150 | 0C | 25C | > 120 | >150
2016 | SEP | 3 | 30.2816 | 27.741 |  |  | 15.529 | 14.2261 |  |  | 9.1335 | 8.3672 |  |  | 45.5003 | 41.6828 |  |  | 24.3 | 22.3
|  | 9 | 23.842 | 21.8416 |  |  | 17.5481 | 16.0758 |  |  | 11.9422 | 10.9402 |  |  | 20.9544 | 19.1963 |  |  | 16.6662 | 15.2679
|  | 15 | 25.2404 | 23.1228 |  |  | 20.5532 | 18.8288 |  |  | 9.6175 | 8.8106 |  |  | 16.4153 | 15.0381 |  |  | 16.29 | 14.9233
|  | 21 | 31.1659 | 28.5511 |  |  | 14.4118 | 13.2026 |  |  | 9.3215 | 8.5395 |  |  | 23.3013 | 21.3463 |  |  | 13.976 | 12.8034
|  | 27 | 32.6226 | 29.8856 |  |  | 57.2957 | 52.4886 |  |  | 32.3407 | 29.6273 |  |  | 53.8526 | 49.3344 | [5 empty] | Torn
[5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  |  | LEA MEMORIAL OVAL |  |  |  | STIRLING NORTH |  |  |  | PORT AUGUSTA HOSPITAL |  |  |  | PORT AUGUSTA TENNIS ASS. |  |  |  | PIGEON CLUB
|  |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY |  | PM10 |  | MONTHLY
|  |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C |  | (ug/m3) |  | PM10 @ 25 deg C
YEAR | MNTH | DAY | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150 | 0C | 25C | > 50 | >150
2016 | SEP | 3 | 5.7833 | 5.2981 |  |  | 5.5926 | 5.1234 | [6 empty] | 14.997 | 13.7388 |  |  | 9.2722 | 8.4943
|  | 9 | 5.3067 | 4.8614 |  |  | 6.0739 | 5.5643 | [6 empty] | 7.5437 | 6.9108 |  |  | 6.2172 | 5.6956
|  | 15 | 7.2053 | 6.6008 |  |  | 5.3561 | 4.9068 | [6 empty] | 7.0401 | 6.4494 |  |  | 5.3183 | 4.8721
|  | 21 | 7.4662 | 6.8398 |  |  | 6.2007 | 5.6805 | [6 empty] | 7.8517 | 7.1929 |  |  | 5.3112 | 4.8656
|  | 27 | 12.2 | 11.1 |  |  | 9.6213 | 8.8141 | [6 empty] | 13.9716 | 12.7994 |  |  | 13.2694 | 12.1561
[5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0